## Slide 1: Modern Control Theory
Model Predict Control - MPC – Lecture 6
Dynamic Prediction Models

## Slide 2: Prediction model - Recap

## Slide 3: Recap 1: Free response and forced response
Free response –
Check if the system with current input can reach to the set-point or
Find out how close it can take it to the set-point or objective
Forced response –
Don’t make any control action if the system can reach to the set-point or
Compute control actions that can take it to the set-point or objective over and above the free response.

## Slide 4: Recap 2: Minimal look ahead or prediction required
The move required tend to be smaller as J increases
J = 3, 4, 6, 8
Dt = 5 mins
As J increases Sj increases
As J decreases, y becomes aggressive

## Slide 5: Recap 3: Correcting for model prediction errors
When can predictions drift away actual?
Inaccurate model
Unmeasured disturbances
How do we correct the model predictions?
  Output feedback based on the latest measurement
Bias term or
correction term or
Estimated disturbance
MIMO Model prediction with bias correction
is matrix of ‘1’ with dimension mP xm

## Slide 6: Dynamic prediction models
Model types
  Physics based or data-based (or empirical) models
  Linear or non-linear relationships
Types of Linear models
  Impulse response coefficients
  Step response coefficients – Most process industry implementations
  Transfer function
  State-space – Recent applications such autonomous vehicles, robots, satellite systems, etc

## Slide 7: State space models - Motivation
5 CVs * 5 MVs
Each model has 30 coefficients
Total - ?
Mixed time scale – what is this?
Unstable system?
Can I represent as step coefficients?
Type of disturbances that can be modeled?

## Slide 8: Prediction using State space models (1/6)
State measurements
Output measurements
(A, B) are controllable
(C, A) are observable
H = C and we can omit z(k)

## Slide 9: Prediction using state space models (2/6)
.
.
.
xN = AxN-1 + BuN-1

## Slide 10: Prediction using State space models (3/6)
Re-arranging the terms in matrix/ vector form
X = F x0 + TU
Free response
Forced response
The measurement model y

## Slide 11: Prediction using State space models (4/6)
Not in incremental of control moves
X = F x0 + TU
Free response
Forced response
System
representation
Difference
Define
System in incremental form

## Slide 12: Prediction using State space models (5/6)
We get
System in incremental form
Difference in outputs
Define
y(k) = C x(k)

## Slide 13: Prediction using State space models (6/6)
State Prediction equation
y(k) = C x(k)
System in incremental form
System
representation
X(k+1) = F x0 + TDU(k)
A =
B =
C =
Output Prediction equation
Y(k) = CC(k)

## Slide 14: Prediction equation comparison
State space prediction equation
X(k+1) = F x0 + TDU(k)
State space Output Prediction equation
Y(k+1) = CC(k+1)
Step response Prediction equation
Free response =
Forced response =
C F x0 =
CTDU(k) =